# Mobile Vaccine Management Plan

For Mobile Clinics and Mobile Providers

Keep your management plan in the mobile unit.

Practices using mobile units to administer public vaccines must complete this plan to record equipment and protocols specific to mobile units. This requirement applies to mobile providers (identified during enrollment) and all clinics conducting vaccinations out of mobile units.

Instructions: Complete this form, and Vaccine Management Plan (Word) for stationary clinics, and update at least annually. Staff with assigned vaccine-management responsibilities must review, sign, and date the vaccine management plan annually, each time it is updated, and when staff with designated vaccine-management responsibilities change. To ensure emergency preparedness, ensure content and protocols are up to date.

Contents

Section 1: Key Requirements

Section 2: Important Contacts

Section 3: Equipment Documentation

Section 4: Key Documentation for Mobile Unit

Section 5: Summary of Key Practice Staff Roles & Responsibilities

Section 6: Management Plan during Mobile Unit Events

Section 7: Management Plan for Routine Situations

Section 8: Worksheet for Emergency Vaccine Management

Section 9: Management Plan for Emergencies

Section 10: Training Log for Required EZIZ Lessons

Section 11: Annual Signature Log

## Section 1: Key Requirements

Practices using mobile units to administer publicly supplied vaccines must follow all requirements in the “Provider Agreement” and “Provider Agreement Addendum.” Requirements specific to mobile units are repeated here.

### Mobile Clinics

The CA VFC Program must approve use of mobile units administering VFC-supplied vaccines.

Providers must designate a Vaccine Coordinator to travel with the mobile unit when it goes into the field. Vaccine Coordinators must complete all required training before traveling in mobile units.

Mobile clinics must maintain a current and complete mobile unit vaccine management plan and keep it in the mobile unit.

Providers must make mobile units and all relevant equipment and documentation available during CDPH site visits.

Mobile clinics must monitor and record current, MIN, and MAX temperatures on the universal temperature log (PDF) at the beginning and end of each clinic day.

Mobile clinics must report temperature excursions in myCAvax as soon as possible and follow requirements for responding to excursions.

Mobile clinics must report doses administered to the regional immunization registry the same day but no later than 15 days after the end of the clinic.

## Section 2: Important Contacts

### Practice or Clinic

| Description | Provider Profile |
| --- | --- |
| Mobile Clinic Name |  |
| Vaccine Coordinator for Mobile Unit |  |
| Provider PIN |  |
| CAIR Registry ID |  |
| Stationary Clinic Name (Main Program PIN) |  |
| Stationary Clinic PIN (If different) |  |
| Address 1 |  |
| Address 2 |  |
| Program(s) Supported | VFC VFA LHD 317 SGF |

### Key Practice Staff & Roles

| Role | Name | Title | Phone # | Alt Phone # | E-mail |
| --- | --- | --- | --- | --- | --- |
| Provider of Record * |  |  |  |  |  |
| Provider of Record Designee * |  |  |  |  |  |
| Vaccine Coordinator * |  |  |  |  |  |
| Backup Vaccine Coordinator * |  |  |  |  |  |
| Organization Vaccine Coordinator |  |  |  |  |  |
| Additional Vaccine Coordinator |  |  |  |  |  |

* Required roles

### Useful Emergency Numbers

| Service | Name | Phone # | Alt Phone # | E-mail |
| --- | --- | --- | --- | --- |
| CDPH Field Representative |  |  |  |  |
| VFC Program |  | (877) 243-8832 |  | MyVFCVaccines@cdph.ca.gov |
| VFA/LHD 317 Programs |  | (833) 502-1245 |  | providercallcenter@cdph.ca.gov |
| SGF Program |  | (833) 502-1245 |  | SGFvaccine@cdph.ca.gov |
| Mobile Van Service/Repair |  |  |  |  |
| Towing Service |  |  |  |  |
| Mobile Van Insurance Company & Policy Number |  |  |  |  |

## Section 3: Equipment Documentation

### Storage Units

Ensure all vaccine storage units meet program requirements.

| Unit Type | Brand | Model | Dates / Types of Service | Public Vaccines (Circle all that apply) |
| --- | --- | --- | --- | --- |
| Refrigerator |  |  |  | VFC ¦ VFA ¦ LHD 317 ¦ SGF |
| Freezer |  |  |  | VFC ¦ VFA ¦ LHD 317 ¦ SGF |

### Storage Unit Maintenance & Repair

Identify company servicing vaccine storage units.

| Description | Contact Info |
| --- | --- |
| Name |  |
| Phone |  |

### Digital Data Loggers

Ensure data loggers meet program requirements.

| Device Location | Temperature Monitoring Device Model/Serial Number | Calibration Expiration Date | Alarm Setting Low | Alarm Setting High |
| --- | --- | --- | --- | --- |
| Refrigerator |  |  |  |  |
| Freezer |  |  |  |  |
| Refrigerated Cooler |  |  |  |  |
| Frozen Cooler |  |  |  |  |

### Data Logger Calibration Company or Laboratory

| Description | Contact Info |
| --- | --- |
| Company Name |  |
| Contact |  |
| Phone |  |
| Alternate Co./Lab |  |
| Contact |  |
| Phone |  |

### Data Logger Configuration & Maintenance

| Description | Provider Data |
| --- | --- |
| IT/Support Provided by |  |
| IT/Support Phone |  |

### Data Logger Auto-Alert Notifications

Identify contact information for staff receiving data logger auto-alert notifications.

| Staff | Contact Information |
| --- | --- |
| Staff Name |  |
| Text or E-mail |  |
| Staff Name 2 |  |
| Text or E-mail |  |
| Staff Name 3 |  |
| Text or E-mail |  |

For Devices with Auto-Alerts: Outline or attach protocols for responding to temperature excursions after hours. Consider implementing a phone tree. Ensure staff safety is addressed.

## Section 4: Key Documentation for Mobile Unit

### Practice Protocols

Indicate which of the following options applies to your mobile unit.

- Vaccines will be transported back to the stationary clinic (main provider PIN) at the end of the clinic day.

- Vaccines will be temporarily stored overnight in another stationary clinic with a different provider PIN. List any PIN(s) used for overnight storage: _______________________________________________

- Vaccines will be stored in the mobile unit overnight because the mobile unit is connected to a permanent and secure power source.

Vaccines may not be delivered to personal residences. Outline your practice’s protocol for receiving and storing vaccines when the mobile unit is in the field at the time of delivery:

Vaccines must be kept separate when stored at another stationary provider PIN. Describe your practice’s protocol for managing and accounting for mobile unit vaccine inventory:

### Location of Key Documentation

Maintain all documentation for (3) years and make available to CDPH representatives upon request.

| Document | Location |
| --- | --- |
| Mobile Unit VMP |  |
| Completed Temperature Logs |  |
| Temperature Data Files |  |
| Transport Logs |  |
| Location of Certificates of Calibration |  |

## Section 5: Summary of Key Practice Staff Roles & Responsibilities

### Provider of Record

- Oversees key practice staff to ensure all requirements are met.

- Designates one provider as Provider of Record Designee to cover VFC-related matters when Provider of Record is not available.

- Designates staff to act as primary and backup Vaccine Coordinators responsible for implementing your vaccine management plan.

- Ensures clinicians who administer VFC-supplied vaccines are knowledgeable of all ACIP-recommended immunizations including schedules, indications, dosages and new products.

- Ensures staff who conduct VFC eligibility screening, documentation, and billing are knowledgeable of all eligibility categories, documentation and billing requirements.

- Ensures practice’s vaccine storage units and data loggers are VFC-compliant.

- Ensures staff who monitor storage unit temperatures or sign off on completed temperature logs are fully trained on temperature monitoring and use of the practice’s data loggers.

- Ensures staff complete all required annual recertification training.

- Reviews all program requirements and vaccine management plan with staff at least annually and whenever requirements change.

- Participates in any required compliance site visits.

### Provider of Record Designee

Must complete training and documentation per program requirements and meet responsibilities listed above for the Provider of Record in his/her absence.

### Vaccine Coordinator

Completes required EZIZ training lessons.

Meets responsibilities described in the Vaccine Coordinator job aid (PDF).

Oversees the practice’s vaccine management plan for routine and emergency situations.

Monitors vaccine storage units.

Maintains program-related documentation in an accessible location.

Participates in any required compliance site visits.

### Backup Vaccine Coordinator

Must complete required EZIZ training lessons and meet the responsibilities described in the Vaccine Coordinator job aid (PDF) when the primary Vaccine Coordinator is not available.

### Organization Vaccine Coordinator (Optional)

Large organizations may assign this role to coordinate communications across locations and ensure locations are properly trained to implement their vaccine management plan. Staff must complete all required training for the Vaccine Coordinator role.

### Additional Vaccine Coordinator (Optional)

Additional vaccine coordinators may share vaccine management responsibilities as needed. Staff must complete all required training for the Vaccine Coordinator role.

### Immunization Champion (Optional)

Consider assigning the role of Immunization Champion to focus on ensuring providers and staff are knowledgeable about IZ schedules, vaccine products and dosages, and on improving coverage levels. This is not an official role, but practices and clinics that assign an Immunization Champion often have better compliance rates. The Immunization Champion performs these functions:

ensures staff know how to and are completing patient eligibility screening and documentation consistently

ensures vaccinators are consistently pulling from private or public stock as instructed in written orders

ensures vaccinators are urging parent/guardian to schedule follow-up doses before leaving

ensures vaccinators are educating patients and their parent/guardian about immunizations

researches and collaborates with provider to implement essential immunization strategies practice wide

## Section 6: Management Plan during Mobile Unit Events

### Vaccine Transport between Stationary Clinic and Mobile Unit

Due to risk to vaccines of improper packing and transporting, follow these step-by-step instructions when transporting publicly supplied vaccines between the stationary clinic and the mobile unit.

| Step | Description |
| --- | --- |
| 1. | Verify that the mobile unit’s refrigerator and freezer are within the OK ranges: Refrigerator: Between 36.0°F and 46.0°F (2.0°C and 8.0°C) Freezer: 58.0°F and 5.0°F (- 50.0°C and -15.0°C) |
| 2. | - Follow guidelines for transporting refrigerated (PDF) and frozen vaccines (PDF) every time vaccines are transported between the stationary clinic and the mobile unit. |
| 3. | Complete the vaccine transport log (PDF) every time vaccines are transported between the stationary clinic and the mobile unit. |

### During a Mobile Unit Event

Follow these step-by-step instructions during the mobile clinic event.

| Step | Description |
| --- | --- |
| 1. | Monitor and record current, minimum, and maximum storage unit temperatures on the hourly temperature log (PDF) twice each day: at the beginning and end of each mobile clinic day. |
| 2. | Conduct patient eligibility screening to ensure vaccines are pulled from the correct inventory. |
| 3. | Administer all age-appropriate, ACIP-recommended vaccines; recommend non-routine, ACIP-recommended vaccines when indicated or when requested. |
| 4. | Document all doses administered in the mobile unit (see daily usage logs (PDF) and report numbers to the regional immunization registry at the end of the clinic day. |
| 5. | In the event of out-of-range temperatures, take immediate action to protect vaccines. (Refer to “In the Event of Temperature Excursions.”) |

### In the Event of Temperature Excursions

Follow these step-by-step instructions if an alarm went off to respond to out-of-range temperatures.

| Step | Description |
| --- | --- |
| 1. | Stop administering all vaccines until the vaccine manufacturer determines vaccines are okay to administer. |
| 2. | Clear the MIN/MAX and any alarm symbol. Tip. This step ensures staff don’t report the same excursion during the next recording; skip this step if your device resets automatically. |
| 3. | Separate and label all vaccines if any vaccines are exposed to out-of-range temperatures during a mobile unit event. |
| 4. | Alert your Vaccine Coordinator and supervisor that vaccines might have been damaged by out-of-range temperatures and may not be used until the incident has been reported and resolved. |
| 5. | As soon as possible, report the temperature excursion to myCAvax and follow all instructions given. (Refer to the program’s Provider Operations Manual for details.) |

Section 7: Management Plan for Routine Situations

### Initial Equipment Setup

Use vaccine storage units and digital data loggers that meet VFC Program requirements.

Prepare (PDF) and set up storage units (PDF) and configure data loggers (PDF) to meet program requirements.

Post temperature log (PDF) on vaccine storage unit doors, or nearby in an accessible location.

Do not store vaccines in storage units until temperatures are stable (refrigerators at around 40.0F and freezers below 0.0F) for 3–5 days.

### Daily Tasks

Temperature Monitoring

Monitor and record (PDF) CURRENT, MIN, and MAX temperatures on temperature log (PDF) twice a day: when the clinic opens and before it closes.

Follow instructions on the temperature log to take action for all temperature excursions; contact manufacturers if instructed to determine if vaccines are okay to use.

Report all temperature excursions in myCAvax.

### Biweekly Tasks

Review and Certify Temperature Logs

Supervisor: Certify and sign that temperatures were recorded twice daily, staff printed names and initials, and corrective actions were taken—for each two-week reporting period.

Download and review data files at the end of every two-week reporting period to look for missed excursions or temperature trends that might indicate performance issues with vaccine storage units.

### Monthly Tasks

Physical Vaccine Inventory

Conduct a physical vaccine inventory (PDF) and complete the vaccine inventory form (PDF) or electronic equivalent.

Check vaccine expiration dates and rotate stock to place vaccines that will expire soonest in front of those with later expiration dates.

Remove expired vaccine immediately to prevent administration errors.

As needed, report in myCAvax all transfers of soon-to-expire vaccines in and out of inventory.

### Annual Tasks

Allocate time for and complete program recertification.

Review and update the practice’s vaccine management plan.

Review with key practice staff the vaccine management plan’s section on preparing for and responding to vaccine-related emergencies and conduct regular vaccine transport drills to maintain competency.

### Per Provider Schedule

Vaccine Orders

Determine total doses administered since previous order using CAIR/EMR administration summary reports.

Conduct a physical vaccine inventory (PDF) to determine total doses on hand by vaccine.

Report VFC doses administered (since the previous order) and doses on hand (at the time of the order) on each vaccine order.

Submit vaccine orders in myCAvax according to provider order frequency following program requirements.

Vaccine Deliveries

Inspect packages carefully using the vaccine receiving checklist (PDF) to report damage or discrepancies immediately.

Report shipment incidents in myCAvax the same day the shipment arrived at the office.

Store vaccines and diluents immediately and rotate stock.

Data Logger Calibration

Calibrate primary and backup data loggers (PDF) (both device and probe together) every two to three years or according to the manufacturer’s suggested timeline.

Calibrate primary and backup devices on different schedules to ensure all refrigerators and freezers storing vaccines from public stock are equipped with data loggers at all times.

File certificates of calibration in a readily accessible area, keep them for three years.

Routine Maintenance

Establish a regular routine for cleaning vaccine storage units and defrosting manual-defrost freezers.

Replace batteries in temperature monitoring devices every six months.

### To Minimize Loss

Transfer vaccines to another active VFC providers if vaccines will expire within six months and are likely expire before administration; report transfers in and out of inventory at myCAvax.

Respond to vaccine-related emergencies following the practice‘s vaccine management plan.

Confirm clinic delivery hours when submitting routine vaccine orders to ensure staff are available to receive vaccines.

### At Each Immunization Visit

Conduct patient eligibility screening to ensure vaccines are pulled from the correct private or public stock.

Administer all age-appropriate, ACIP-recommended vaccines.

Recommend non-routine, ACIP-recommended vaccines when indicated or when requested.

Report doses administered (including NDC, funding source and vaccine eligibility) to the California Immunization Registry (CAIR2 or CAIR/Healthy) in accordance with AB 1797.

### As Needed

Spoiled, Expired, and Wasted Vaccines

Report doses spoiled, expired, or wasted in myCAvax and dispose of following practice protocols.

Return spoiled and expired vaccines to McKesson within six months of expiration/spoilage per program requirements.

Properly dispose of wasted vaccines following practice protocols.

Changes in Staff and Training

Report changes to staff filling key program roles (Provider of Record and Designee, Vaccine Coordinator and Backup) in myCAvax following program requirements.

Ensure anyone acting in key program roles completes any required training when hired and annually thereafter following program requirements; staff must demonstrate competency in assigned roles and responsibilities (PDF).

All staff who conduct VFC Program eligibility screening, documentation, and billing (e.g., front- or back-office staff) must be knowledgeable of all VFC eligibility categories, documentation, and billing for administration and general billing guidelines. Ensure proper training of personnel, including admitting and billing personnel, on processes for screening and billing for administration fees.

All staff and supervisors who monitor storage unit temperatures or sign off on temperature logs must complete the related EZIZ lesson when hired and annually thereafter; they must be fully trained on use of the practice’s data loggers and actions required after a temperature excursion is discovered.

Ensure staff authorized to accept packages are trained to immediately notify Vaccine Coordinators when vaccine shipments are delivered.

Update the practice’s vaccine management plan to reflect any changes in key practice staff.

Conduct vaccine transport and temperature excursion response drills annually or more frequently as needed (e.g., when hiring new staff or staff errors are discovered) to maintain competency and readiness for emergencies.

Device Replacement

Purchase a new data logger if existing device or probe malfunctions, is damaged, or if device provides repeated, inaccurate temperature readings.

Ensure new devices meet all program requirements.

Update new device information in myCAvax and the provider’s vaccine management plan.

## Section 8: Worksheet for Emergency Vaccine Management

The following sections include space for information and necessary actions to take in the event of an emergency, such as storage unit malfunction, mechanical failure, power outage, natural disaster, or human error.

In an emergency, contact the following people in the order listed:

| Role/Responsibility | First & Last Name | Phone # | Alt Phone # | E-mail Address |
| --- | --- | --- | --- | --- |
| 1. |  |  |  |  |
| 2. |  |  |  |  |
| 3. |  |  |  |  |
| 4. |  |  |  |  |

Does the clinic have a generator?  If so, where is it?

If the mobile van breaks down or is in an accident, your clinic does not have a generator, or a vaccine storage unit fails: It might be necessary to transport vaccines to an alternate storage location (e.g., a local hospital or another active provider in the same vaccination program). Identify an alternate location(s) that has vaccine storage units and data loggers that meet program requirements.

| Alternate Vaccine Storage | Address & City | Phone # | Alt Phone # | E-mail Address |
| --- | --- | --- | --- | --- |

Location of Emergency Packing Supplies: ____________________________________________

### Location of Other Supplies

| Item | Location |
| --- | --- |
| Flashlight |  |
| Spare DDL batteries |  |
| Keys to secured cabinets |  |
| Transport cooler & log |  |
| Packing supplies |  |

## Section 9: Management Plan for Emergencies

Do not risk staff safety during emergencies. Use common sense when attempting to protect vaccines. Use the following guidance for safeguarding vaccines in the event of planned or unplanned power interruptions (e.g., power outages, weather-related circumstances, fires, building maintenance/repairs, etc.).

### Checklist: Before an Emergency

Proper preparation for emergencies is essential for protecting the viability of vaccines. Use the following checklist to help ensure practices are ready for planned or unexpected situations that might affect vaccine viability.

| Step | Description |
| --- | --- |
| 1. | Maintain current emergency contact information for key practice staff in the vaccine management plan. |
| 2. | Maintain current contact information for alternate vaccine storage location(s), including the facility name, address, and telephone number in the vaccine management plan. |
| 3. | Be familiar with backup power sources for commercial- and pharmacy-grade units. |
| 4. | Know the location of the backup data logger used for vaccine transport. |
| 5. | Stock vaccine packing and transport supplies, including a hard-sided cooler, frozen gel packs, and bubble wrap. |
| 6. | Keep copies of the vaccine transport log (PDF) and floor plans (when available) for easy access during a vaccine-related emergency. |
| 7. | Review annually the steps key practice staff must take to protect vaccines during short- or long-term outages. |
| 8. | Vaccine Transport Drill: Practice packing the transport cooler using packing supplies and materials that simulate vaccine boxes. Do NOT practice with actual vaccines. |

### Checklist: During an Emergency

Vaccines may remain inside a nonfunctioning unit as long as appropriate temperatures are maintained. Monitor your data logger to determine when additional action should be taken.

Due to the risk to vaccines of improper packing and transporting, follow these step-by-step instructions to determine whether vaccines should be transported or sheltered in place.

| Step | Description |
| --- | --- |
| 1. | Do not open the unit. |
| 2. | - Place a “DO NOT OPEN” sign on vaccine storage unit(s) and leave door(s) shut to conserve cold air mass. |
| 3. | Notify the emergency contacts identified on the vaccine management plan’s “Worksheet for Emergency Vaccine Management.” |
| 4. | Note the time the outage started and storage unit temperatures (CURRENT, MIN and MAX). |
| 5. | Assess to determine the cause of the power failure and estimate the time it will take to restore power. |
| 6. | Take appropriate action. Transport refrigerated (PDF) or frozen vaccines (PDF) only if necessary following guidance. In the event of appliance failure Place vaccines in any approved backup storage unit with a VFC-compliant data logger, or transport vaccines to the designated alternate storage facility. For power outages after hours Report any excursion to myCAvax the next morning and take appropriate action. For planned outages expected to be short-term (approximately fewer than 4 hours)* Monitor storage unit temperature and report any excursions once power has been restored. For planned/unplanned outages expected to be longer than approximately 4 hours,* or for any outage that extends beyond the current business day Transport vaccines to the designated alternate storage facility. If transport or relocation is not feasible (e.g., alternate location is not available or travel conditions are unsafe), keep vaccine storage units closed and notify the program contact under this plan’s emergency contacts as soon as possible. |
| 7. | Once power has been restored, follow the steps listed in “After an Emergency.” |

* Note: Practices using purpose-built (pharmacy-, biologic-, and laboratory-grade) and commercial-grade storage units may need to transport vaccines to an alternate location sooner than 2 hours as temperatures in these units tend to increase faster during power failures. If you are using an auto-dispensing doorless unit, please contact the storage unit manufacturer for additional instruction prior to packing vaccines for transport.

Page 7

Page 8

### Checklist: After an Emergency

Follow these step-by-step instructions after vaccine-related emergencies in compliance with program requirements and best practices.

| Step | Description |
| --- | --- |
| 1. | Verify storage units are functioning properly. |
| 2. | If vaccine storage units are outside the required temperatures ranges, record the time that power was restored and storage unit temperatures (CURRENT, MIN and MAX) on the temperature log. |
| 3. | Once vaccine storage unit temperatures have stabilized, notify the emergency contacts identified on the vaccine management plan’s “Worksheet for Emergency Vaccine Management.” |
| 4. | Verify vaccines may be used: - If vaccines were maintained at required temperatures: - Remove the “DO NOT OPEN” sign from storage unit(s). - Notify supervisor that vaccines may be used. - If vaccines were exposed to out-of-range temperatures: - Label affected vaccines “Do Not Use.” - Document and report the excursion to myCAvax to receive further guidance. - If vaccines were transported due to an emergency situation: - Follow same transportation procedures and transfer vaccine back to its original storage unit. - If vaccines were maintained at the proper temperature during the power outage, notify supervisor that the vaccines may be used. |

## Section 10: Training Log for Required EZIZ Lessons

List the Vaccine Coordinator assigned to the mobile unit to acknowledge completion of the required EZIZ lessons. All other key practice staff may sign below, or on the Vaccine Management Plan (Word) for the stationary clinic if applicable.

### Vaccines for Children (VFC)

| Staff Name | Role | VFC Program Requirements (all roles) | Storing Vaccines (all roles) | Monitoring Storage Unit Temperatures (all roles) | Conducting a Vaccine Inventory (Vaccine Coordinators) |
| --- | --- | --- | --- | --- | --- |

### Vaccines for Adults (VFA & LHD 317)

| Staff Name | Role | VFA Program Requirements (all roles) | LHD 317 Program Requirements (all roles) |
| --- | --- | --- | --- |

Page 13

Section 11: Annual Signature Log

Complete one signature block each year and when you up update practice-specific information. By signing, staff acknowledge they have reviewed and are familiar with all information in the document.

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Provider of Record |  |  |  |
| Provider of Record Designee |  |  |  |
| Vaccine Coordinator (VC) |  |  |  |
| Backup Vaccine Coordinator |  |  |  |
| Organization VC |  |  |  |
| Additional VC |  |  |  |